## Sheet1
HIGHWAY ELECTRICAL FESTIVE DEORATION INSPECTION, CONDITION REPORT AND ELECTRICAL TEST CERTIFICATE | [15 empty] | CERTIFICATE NUMBER:
CONTRACTOR NAME: | [15 empty] | SHEET NUMBER:
CLIENT NAME: | [15 empty] | RCD TEST: THE CONTRACTOR MUST CARRY OUT A FULL AFDD MANUAL TEST BUTTON OPERATION.
Maximum Disconnection Time permitted (CIRCLE WHERE APPLICABLE ) |  |  | 0.4S | 5S
Description/Type of Decoration ( festoon, motif, ETC) | Location | Fed Via UNIT ID No | Fed Via Unit Type | Decoration Height (M) | Decoration Ref: | PAT TESTED Y/N (INC DATE) | Wattage | Control (1) | Operating Period (2) | Earth System (3) | PSCC Measured | Insulation Resistance |  |  | Earth Loop Impeadance ZE (Ω) |  | Circuit Protection |  | RCD |  | Main CPC Size | Voltage
[12 empty] | P-E | N-E | P-N | MEASURED ZE (Ω) | MEASURED ZS (Ω) | Type | Rating | RCD RATING (ms) | RCD FUNCTIONAL TEST*
Visual Inspection: Pass/Fail | Continuity of CPC Conductors: | Pass/Fail |  |  | Polarity: | Pass/Fail |  | PLEASE CROSS OUT WHERE APPLICABLE
Cable Network Details (To be read in conjunction with Schematic Drawing)
Source | Destination | Conductor Size | Core(s) | Earth System | Voltage | Insulation Resistance |  |  | Earth Loop Impeadance ZE (Ω) |  | PSCC Measured | Circuit Protection |  | RCD
[6 empty] | P-E | N-E | P-N | MEASURED ZE (Ω) | MEASURED ZS (Ω) |  | Type | Rating (A) | RCD RATING (ms) | RCD FUNC TEST OK
Visual Inspection: Pass/Fail | Continuity of CPC Conductors | Pass/Fail |  |  | Polarity | Pass/Fail |  | PLEASE CROSS OUT WHERE APPLICABLE
REMARKS:
TEST INSTRUMENT SERIAL NO'S | INS. RESIST/CONT |  |  | EARTH LOOP |  |  |  |  | RCD |  |  | OTHER
I/WE BEING THE PERSON(S) RESPONSIBLE FOR THE DESIGN/CONSTRUCTION & INSPECTION OF TESTING OF THE HIGHWAY ELECTRICAL INSTALLATION (AS SHOWN BY MY/OUR SIGNATURE(S) BELOW) PARTICULARS OF WHICH ARE DESCRIBED ABOVE, HAVING EXERCISED REASONABLE SKILL AND CARE WHEN CARRYING OUT THE DESIGN, CONSTRUCTION. INSPECTION AND TESTING, HEARBY CERTIFY THAT THE SAID TEST WE ARE REPSONSIBLE IS IN ACCORDANCE WITH BS7671 LATEST EDITION, EXCEPT FOR ANY DEPARTURES AS LISTED BELOW:
CONDITION REPORT (SEE CONDITIONS):
DESIGNER | SIGNATURE: |  |  |  |  | NAME
INSPECTOR/TESTER | SIGNATURE: |  |  |  |  | NAME
SUPERVISOR/MANAGER | SIGNATURE: |  |  |  |  | NAME
Control (1)
IN (Individual)
CP (Control Point)
SW (Switch Wire)
UK (Unknown)
Earthing System (3)
A (Combined Neautral & Earth)
B (Cable Sheath)
C (Cable Armour)
D (RCD)
E (Overhead Wire)
F (TT System)
Operating Period (2)
1. Electronic PEC
2. Remote PEC
3. All Night T/S
4. Dusk to Midnight
5. Remote T/S
6. Dimming Unit
7. Continuous
8. Time switch
Note: Please give details of dimming profile, if a dimming unit is used.
Unit Type:
SL-Street Light
TS- Illuminated Traffic Sign
BOL: Illuminated Bollard
B/S: Bus Shelter
EV: Ev Charging Supply
PHIL- CMS Philips
CMS Silversprings
CONDITION(S)
C1= Danger Present Risk of Injury Immediate action required
C2= Potentially Dangerous Urgent Remeadial Action Required
C3= Improvement Needed
FI= Further Investigation without delay (due to defect not being able to be identified at the time of test)
S= Satisfactory